## Homework Instructions
Homework # 5 - Method Validation
Instructions: Make sure you read HW #5 instructions before beginning assignment. Submit via e-mail to outreach@otsc.tamu.edu. Include one MS Word file with answers for all questions (if applicable), and one Excel file with an individual spreadsheet for each question. Procedures to complete all questions above can be found in Unit III presentations and Excel demonstrations. Problems are summarized below. For more details, see HW # 5 description.
Problem # 1 Worksheet: Your lab has an analyte with an unknown concentration and you want to estimate the concentration using a calibration curve. The instrument response was 521 nm for the unknown concentration. Using the data in the worksheet labelled “Question # 1”, complete the following: a) Plot the curve. b) Find the linear equation and the correlation coefficient. c) Use the calibration curve equation to estimate the unknown concentration.
Problem # 2: Ten different labs are doing PT testing and running samples in duplicate. Their results are recorded in the attached spreadsheet. Before analyzing results, the program director wants to determine any outliers. Using the data in the worksheet labelled “Question # 2”, complete the following: a) Determine if there are any outliers in the dataset using the Cochran and Grubbs tests. b) Why is important to run both a Grubbs single outlier test and a Grubbs paired outlier test? c) Besides removing the outliers, are there any other actions that you would take and why?
Problem # 3: 12 blank samples are run on a new HPLC instrument. The limit of detection and limit of quantitation need to be calculated. Using the data in the worksheet labelled “Question # 3”, complete the following: a) What is the LOD? b) What is the LOQ?
Problem # 4:Twelve labs are testing a sample in duplicate for a proficiency testing program. Before analyzing the results and determining a consensus value, outlier tests need to be run Using the data in the worksheet labelled “Question # 4”, complete the following: a)How many outliers are in the dataset? b) Calculate the consensus mean and standard deviation with all the labs and then calculate it again with the outliers taken out. What impact do outliers have on PT program results?

## Problem # 1
Calibration Curve Data for Unknown Concentration
Concentration (ppm) | Result (nm)
0 | 25
2 | 115
4 | 285
6 | 400
8 | 564
10 | 723
12 | 886
Instrument Response | 521 nm

## Problem # 2
Problem # 2 - Cochran and Grubbs Test Instructions
The dataset is in the yellow box on the sheet.
Equations should be put in each green box. Remove any
outliers before going to the next test. Not all boxes will
be filled due to outlier removal.

## Problem #2 -1a
Problem # 2 - Cochran Test
| Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| 200.11 | 198.9 | 206.61 | 208.99 | 208.09 | 200.13 | 207.38 | 181.56 | 200 | 182.88
| 203.94 | 202.23 | 203.08 | 222.21 | 203.44 | 204.03 | 209.02 | 180.78 | 200.57 | 183.02
within lab variance
Sum of lab variance | bar: Problem # 2 - Cochran Test Lab 1
Cochran statistic | bar: Problem # 2 - Cochran Test Lab 1

## Problem #2-1b
Problem # 2 - Grubbs Test
Grubbs Statistic for One Possible Outlier
average of each lab
SD_all
SD_high
SD_low
| High | Low
Grubbs Statistic
Grubbs Statistic for Two Possible Outliers
average of each lab
SD_all
SD_2high
SD_2low
SD_lowhigh
Smallest SD
Grubbs Statistic

## Problem # 3
Problem # 3 - LOD/LOQ Calculation
Instrument Result
S1 | 22.3
S2 | 21.5
S3 | 22.5
S4 | 21.9
S5 | 20.8
S6 | 20.9
S7 | 21.2
S8 | 21.1
S9 | 21.2
S10 | 21.6
S11 | 21.7
S12 | 22.1
LOD
LOQ

## Problem 4
Problem # 4 - Cochran and Grubbs Test Instructions
The dataset is in the yellow box on the sheet.
Equations should be put in each green box. Remove any
outliers before going to the next test. Not all boxes will
be filled due to outlier removal.

## Problem #4-1a
Problem # 4 - Cochran Test
Cochran Outlier Test
| Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Lab 11 | Lab 12
| 19.49 | 23.31 | 21.03 | 17.9 | 17.2 | 18.92 | 18.9 | 18.67 | 20 | 20.37 | 71.24 | 17.72
| 17.02 | 19.05 | 20.25 | 19.77 | 21.1 | 19.38 | 20.51 | 21.67 | 18.11 | 19.59 | 72.22 | 16.93
within lab variance
Sum of lab variance
Cochran statistic | bar: Lab 1

## Problem # 4-1b
Problem #4 - Grubbs Test
Grubbs Statistic for One Possible Outlier
average of each lab
SD_all
SD_high
SD_low
| High | Low
Grubbs Statistic
Grubbs Statistic for Two Possible Outliers
average of each lab
SD_all
SD_2high
SD_2low
SD_lowhigh
Smallest SD
Grubbs Statistic